CONSUMER CONFIDENCE REPORT-2022

ANNUAL DRINKING WATER QUALITY REPORT

JANUARY 1 TO DECEMBER 31, 2022– LACON - IL1230100

This year, as in years past your tap water met all USEPA and state drinking water health standards. Our system vigilantly safeguards its groundwater supply, and we are able to report that the department had no violation of a contaminant level or of any other water quality standard in the previous year. This report summarizes the quality of water that we provided last year, including details about where your water comes from, what it contains, and how it compares to standards set by regulatory agencies.

If you have any questions about this report or concerning your water system, please contact Mitch Lishman at 309-246-2940. If you would like to learn more, please feel welcome to attend any of our regularly scheduled Council meetings 1st Wednesday after the 2nd Monday of each month beginning at 6:30 p.m. at City Hall.

Our town uses groundwater from three wells located in the city limits of Lacon. Water is pumped from all wells, blended together, and then treated. Your home normally receives a mixture of water from all wells

The Illinois EPA has completed the source water assessment for our supply. If you would like a copy of this information, please stop by City Hall or call 309-246-6111. To view a summary version of the completed Source Water Assessments, including: Importance of Source Water; Susceptibility to Contamination Determination; and documentation/recommendation of Source Water Protection Efforts, you may access the Illinois EPA website at http://www.epa.state.il.us/cgi-bin/wp/swap-fact-sheets.pl. To determine Lacon’s susceptibility to groundwater contamination, a Well Site Survey, published in 1992, and a Hazard Review Report, published in 1993, were reviewed. During the surveys of Lacon’s source water protection area, Illinois EPA staff recorded six potential sources, routes, or possible problem sites within the 400 foot minimum setback zone of the well field. Seven sites are located within the 1000 foot proposed maximum setback zone and eleven addition sites are located within the 1500 foot survey radius and the recharge area. Three additional sites are within 3,000 feet of the well field. The Illinois EPA considers the source water of this facility to be highly susceptible to contamination. This determination is based on a number of criteria including: monitoring conducted at the wells, monitoring conducted at the entry point to the distribution system, and the available hydrogeologic data on the wells.

Some people may be more vulnerable to contaminants in drinking water than the general population. Immuno-compromised persons such as persons with cancer undergoing chemotherapy, persons who have undergone organ transplants, people with HIV/AIDS or other immune system disorders, some elderly, and infants can be particularly at risk from infections. These people should seek advice about drinking water from their health care providers. EPA/CDC guidelines on appropriate means to lessen the risk of infection by Cryptosporidium and other microbial contaminants are available from the Safe Drinking Water Hotline

(1-800-426-4791). Drinking water, including bottled water, may reasonably be expected to contain at least small amounts of some contaminants. The presence of contaminants does not necessarily indicate that water poses a health risk. More information about contaminants and potential health effects can be obtained by calling the EPA’s Safe Drinking Water Hotline (1-800-426-4791).

The sources of drinking water (both tap water and bottled water) include rivers, lakes, streams, ponds, reservoirs, springs, and wells. As water travels over the surface of the land or through the ground, it dissolves naturally-occurring minerals and, in some cases, radioactive material, and can pick up substances resulting from the presence of animals or from human activity. Contaminants that may be present in source water include:

- Microbial contaminants, such as viruses and bacteria, which may come from sewage treatment plants, septic systems, agricultural livestock operations and wildlife;

- Inorganic contaminants, such and salts and metals, which can be naturally-occurring or result from urban storm water runoff, industrial, or domestic wastewater discharges, oil and gas production, mining or farming;

- Pesticides and herbicides, which may come from a variety of sources such as agriculture, urban storm water runoff, and residential uses;

- Organic chemical contaminants, including synthetic and volatile organic chemicals, which are by-products of industrial processes and petroleum production, and can also come from gas stations, urban storm water runoff, and septic systems;

- Radioactive contaminants, which can be naturally-occurring or be the result of oil and gas production and mining activities.

In order to ensure that tap water is safe to drink, EPA prescribes regulations which limit the amount of certain contaminants in water provided by public water systems. FDA regulations establish limits for contaminants in bottled water which must provide the same protection for public health.

2022 Regulated Contaminants Detected

If present, elevated levels of lead can cause serious health problems, especially for pregnant women and young children. Lead in drinking water is primarily from materials and components associated with service lines and home plumbing. We cannot control the variety of materials used in plumbing components. When your water has been sitting for several hours, you can minimize the potential for lead exposure by flushing your tap for 30 seconds to 2 minutes before using water for drinking or cooking. If you are concerned about lead in

your water, you may wish to have your water tested. Information on lead in drinking water, testing methods, and steps you can take to minimize exposure is available from the Safe Drinking Water Hotline or at http://www.epa.gov/safewater/lead.

Lead and Copper

Definitions:

Action Level Goal (ALG): The level of a contaminant in drinking water below which there is no known or expected risk to health. ALG’s allow for a margin of safety.

Action Level (AL): The concentration of a contaminant which, if exceeded, triggers treatment or other requirements which a water system must follow.

.

| Lead & Copper | Date Sampled | MCLG | Action Level (AL) | 90th Percentile | # Sites Over AL | Units | Violation | Likely Source of Contamination |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Copper | 09/15/22 | 1.3 | 1.3 | 0.13 | 0 | ppm | No | Erosion of natural deposits; Leaching from wood preservatives; Corrosion of household plumbing systems. |
| Lead | 09/15/22 | 0 | 15 | 3.7 | 0 | ppb | No | Corrosion of household plumbing systems; Erosion of natural deposits. |

# Water Quality Test Results

Definitions:			              The following tables contain scientific terms and measures, some of which may require explanation:

Avg:				              Regulatory compliance with some MCLs are based on running annual average of monthly samples.

Level 1 Assessment:	A Level 1 assessment is a study of the water system to identify potential problems and determine (if                                                              possible) why total coliform bacteria have been found in our water system.

Level 2 Assessment:	A Level 2 assessment is a very detailed study of the water systems to identify potential problems and determine (if possible) why an E. coli MCL violation has occurred and/or why total coliform bacteria have been found in our water system on multiple occasions.

Maximum Contaminant Level or MCL:               The highest level of a contaminant that is allowed in drinking water. MCL’s are set as close to the

MCLGs as feasible using the best available treatment technology.

Maximum Contaminant Level Goal                     The level of a contaminant in drinking water below which there is no known or expected risk to health.

or MCLG                                                              MCLGs allow for a margin of safety.

Maximum Residual Disinfectant Level	              The highest level of a disinfectant allowed in drinking water. There is convincing evidence that addition

or MRDL:                                                            of a disinfectant is necessary for control of microbial contaminants.

Maximum Residual Disinfectant Level                The level of drinking water disinfectant below which there is no known or expected risk to health.

Goal or MRDLG:                                                 MRDLG’s do not reflect the benefits of the use of disinfectants to control microbial contaminants

na: 				              Not applicable.

mrem:	Millirems per year (a measure of radiation absorbed by the body)

ppb: 				              Micrograms per liter or parts per billion – or one ounce in 7,350,000 gallons of water.

ppm: 				              Milligrams per liter or parts per million – or one ounce in 7,350 gallons of water

Treatment Technique or TT: 		              A required process intended to reduce the level of a contaminant in drinking water.

## Regulated Contaminants

| Disinfectants & Disinfection By-Products | Collection Date | Highest Level Detected | Range of Levels Detected | MCLG | MCL | Units | Violation | Likely Source of Contaminant |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Chlorine | 12/31/2022 | 1 | 1 – 1.1 | MRDLG = 4 | MRDL = 4 | ppm | N | Water Additive used to control microbes. |
| Total Trihalomethanes (TTHM) | 08/19/22 | 1 | 0.841 – 0.841 | No goal for the total | 80 | Ppb | N | By-product of drinking water disinfection. |

Not all sample results may have been used for calculating the Highest Level Detected because some results may be part of an evaluation

to determine where compliance sampling should occur in the future.

| Inorganic Contaminants | Collection Date | Highest Level Detected | Range of Levels Detected | MCLG | MCL | Units | Violation | Likely Source of Contamination |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Barium | 2021 | 0.088 | 0.088 -0.088 | 2 | 2 | ppm | N | Discharge of drilling wastes; Discharge from metal refineries; Erosion of natural deposits |
| Fluoride | 2021 | 1.48 | 1.48 – 1.48 | 4 | 4.0 | ppm | N | Erosion of natural deposits; Water additive which promotes strong teeth; Discharge from fertilizer and aluminum factories. |
| Nitrate (measured as Nitrogen) | 08/19/22 | 3 | 3.2 – 3.2 | 10 | 10 | ppm | N | Runoff from fertilizer use; Leaching from septic tanks, sewage; Erosion of natural deposits |
| Selenium | 2021 | 1.1 | 1.1 – 1.1 | 50 | 50 | Ppb | N | Discharge from petroleum and metal refineries; Erosion of natural deposits; Discharge from mines. |
| Sodium | 2021 | 15 | 14 - 14 |  |  | ppm | N | Erosion from naturally occurring deposits: Used in water softener regeneration. |
| Zinc | 2021 | 0.0064 | 0.0064 – 0.0064 | 5 | 5 | ppm | N | This contaminant is not currently regulated by the USEPA. However, the state regulates. Naturally occurring; discharge from metal. |
| Radioactive Contaminants | Collection Date | Highest Level Detected | Range of Levels Detected | MCLG | MCL | Units | Violation | Likely Source of Contamination |
| Combined Radium 226/228 | 07/20/15 | 1 | 1 - 1 | 0 | 5 | pCi/L | No | Erosion of natural deposits. |
| Gross alpha excluding radon and uranium | 07/20/15 | 0.153 | 0.153 - 0.153 | 0 | 15 | pCi/L | No | Erosion of natural deposits. |

Source Water Information

Source Water Name 		Type of Water 		Report Status 		Location

WELL 2 (31306) 			GW			Active			________________________________________

WELL 3 (31307) 			GW 			Active			________________________________________

WELL 4 (01497) 			GW			Active			65 FT NORTH OF WELLHOUSE